## Slide 1
rf
acquisition
dw
rf
rf
2 * dw
rf
3 * dw
rf
rf
preparation
COSY
distance between points (dwell time) -> spectral range
Number of data points , acquisition time -> spectral resolution
distance of increments (dwell time) -> spectral range
number of increments , acquisition time -> spectral resolution

## Slide 2
COSY , Two RF- pulses
90°
90°
acquisition
t1 dt increments
dt dwell time
90°
90°
t1 –evolution,
t1 incremented
t2 – evolution, acquisition M+ = Mx+ i My
cos w t1
sin w t1
sin w t1
sin w t1 (exp (i w t2 ))
Ix- magnetization

## Slide 3
rf
t2
t1
rf
FT along t2
t1
t2
t1
f2
FT along t1
f2
f1
preparation l = t1 = n Dt
acquisition
t1 has to be incremented
Two Frequency Axes
sin ( w t1 ) exp ( i w t2 )
w
(Sin ( w t1 ) Sin (J t1 ) )
w
w
w
w
w

## Slide 4: COSY- Experiment (1H, 1H)
propionic acid
COSY – Experiment (1H, 1H)
90°
90°
t2 acquisition
t1 incremented

## Slide 5
90°
90°
acquistion
t1 incremented
chemical shift COrrelation SpectroscopY COSY
Reveals scalar coupling network
Cross peaks connect coupling protons
H
H
H
H
COSY Cross Peaks

## Slide 6: Beispiel Zuckerderivat 1H-Spektrum
13C-Spectrum
1
1
1
1
2
1
4 * 3
4 CH
CH2
4 CH3
4 q C
CH
Glucose Derivative 1H ,13C
application

## Slide 7: Beispiel Zuckerderivat 1H-Spektrum
4 * 3
13C-Spectrum
4 CH
CH2
4 CH3
4 q C
CH
DEPT 135
DEPT 45
DEPT 90
Distortionless Enhancement by Polarisation Transfer DEPT
Dept Spectra

## Slide 8
1.8
12.2
0.97
2.00
0.97
0.98
0.98
0.99
12.1
4.1
4.1
10.0
4.0
4.0
9.8
9.8
9.8
10.2
H –H Coupling Constants
Coupling partners cannot be assigned unambiguously

## Slide 9
1
1
2
2
3
3
4
4
5
5
6
6´
6´
6
O
C
H
O
C
H
O
C
H
O
C
H
O
C
H
1
2
3
4
5
H
C
H
O
6
6´
Glucose Derivative COSY
Cross peaks indicate coupling protons.

## Slide 10
Processing
Resolution differ in both dimensions
Resolution better
Resolution worse
Resolution better

## Slide 11
Processing
contour plot levels can be adjusted
t1 noise

## Slide 12
stack plot
Processing

## Slide 13
Processing
Templates can be created and stored.
different processing in both dimensions

## Slide 14
Processing
Load external projections; choose from list

## Slide 15
Richard Ernst Nobel laureate 1991
Nobel Laureate 1991